BUREAU OF SAFE DRINKING WATER

Level 1 Assessment

|  | PWS ID#: | PWS Name: | City/Town: |
| --- | --- | --- | --- |
|  | Compliance Period (mm/yy) |
|  | INSTRUCTIONS: |
|  | Section A: Review and evaluate the listed elements typically found in a PWS. Check (√) yes or no on all elements reviewed. Check (√) “NA” if the section is not applicable to the PWS. Section B: Description of Occurrence: Provide an explanation on any issues identified. Elaborate as needed. Section C: Corrective Action: Provide corrective action(s) and completion dates for all sanitary defects identified. Submit this form within 30 days of triggering a Level 1 Assessment Treatment Technique. |
|  | Section A |
|  | 1. GENERAL [check yes or no on each item] |  |  |  |
|  | Have any of the following occurred at sample sites prior to collecting bacteria samples? |
|  | yes/no ((low/inadequate disinfectant residual | yes/no ((loss of pressure (<20 psi) |
|  | ((operation/maintenance activities | ((visible indicators of unsanitary conditions |
|  | ((firefighting event/flushing/sheared hydrant | ((water quality parameters out of range |
|  | ((signs of vandalism/forced entry | Other: _________________________________ |
|  | 2. OPERATIONAL CHANGES [check yes or no on each item] |  |  |  |
|  | yes/no ((potential source of contamination | yes/no ((new source added | Other: _____________________ |
|  | 3. SAMPLING SITES [check yes or no on each item] |  |  |  |
|  | yes/no ((unclean or unsuitable sample tap | yes/no ((change in conditions at sample site |
|  | ((hot water intrusion | ((note other sample tap uses: |
|  | 4. SAMPLING PROTOCOL [check yes or no on each item] |  |  |  |
|  | yes/no ((improper sample container | yes/no ((inadequate tap flushing |
|  | ((aerator was not removed | ((improper hold time/storage temperature |
|  | ((auto sensing faucet/swivel-type faucet | ((sampler error | Other: _________________________ |
|  | 5. TREATMENT PROCESS [check yes or no on each item] |  |  | ( NA** |
|  | yes/no ((change in flow rates | yes/no ((recent installation/repair |
|  | ((inadequate disinfection | ((O & M procedures not followed |
|  | ((turbidity measurements out of range | ((new source added |
|  | ((treatment added or changed | ((interruption in treatment/power loss | Other: ________________________ |
|  | 6. DISTRIBUTION SYSTEM [check yes or no on each item] |  |  |  |
|  | yes/no ((power loss | yes/no ((operation of isolation valves resulting in breakage |
|  | ((standing water/debris in valve vault | ((flushing of fire hydrants or blow-offs |
|  | ((low disinfection residuals | ((improper operation of air-relief/air-vacuum valves |
|  | ((pump or valve failure | ((installation of new mains or construction activity |
|  | ((pressure loss/inadequate pressure (<20 psi) | ((improper operation of pumps/valves |
|  | ((improper surge control | ((illegal use of hydrants |
|  | ((main breaks | ((leaks |
|  | ((unprotected cross connection | ((improper operation of valves | Other: _______________________________ |
|  | 7. STORAGE TANKS [check yes or no on each item] |  |  | ( NA** |
|  | yes/no ((improper maintenance practices | yes/no ((low disinfectant residual |
|  | ((presence of dead animals/insects | ((hatch not sealed | Other: _________________________________ |
|  | ((incorrect operation of level control valves, altitude valves, and related appurtenances |
|  | ((deterioration, rust, holes, or other breaches in vent, overflow pipe, access hatch, screens, ladders, etc. |
|  | ** NA (not applicable) should be checked if PWS does not have that component (i.e. no springs) |

|  | 8. SOURCES – Well [check yes or no on each item] |  |  | ( NA** |
| --- | --- | --- | --- | --- |
|  | yes/no ((defective/damaged well cap/well seal | yes/no ((damaged well casing |
|  | ((floodwater/run-off inundation | ((damaged/unscreened vent |
|  | ((missing/damaged grout seal | ((unprotected opening in pump/pump assembly |
|  | ((damaged pitless adapter | Other: ___________________________________________ |
|  | Surface Water Supply [check yes or no on each item] |  |  | ( NA** |
|  | yes/no ((potential source of contamination | yes/no ((rapid snowmelt | yes/no ((heavy rainfall |
|  | ((change in sources | ((flooding | Other: ___________________________________________ |
|  | Spring [check yes or no on each item] |  |  | ( NA** |
|  | yes/no ((potential source of contamination | yes/no ((improper development/poorly maintained spring box | yes/no ((heavy rainfall |
|  | ((infiltration of surface run-off | ((rapid snowmelt | Other: _____________________________________ |

** NA (not applicable) should be checked if PWS does not have that component (i.e. no springs)

| Section B - Description of Occurrence Use this space to provide additional information that supports your findings (i.e. water quality and pressure monitoring data). Include corresponding dates with your findings. |
| --- |
| ( Check if PWS did not find any causes for the contamination. |
| Section C - Corrective Action Use this space to describe corrective action taken or proposed corrective action with corresponding dates. |
| Date Completed |  |

| Have all noted defects been corrected? | yes/no (( |
| --- | --- |
| Is a Corrective Action Plan needed to correct the remaining defects prior to the Assessment due date? | yes/no (( |
| Certification: I certify under penalty of law that I am authorized to fill out and complete this assessment and the information contained herein is true, accurate and complete to the best of my knowledge and belief. |
| Print Name: |  | Title: |  |
| Signature: |  | Date: |  |
| Phone #: |  | Email: |  |

Return this form to the Bureau of Safe Drinking Water Program within 30 days of notification of a Level 1 Assessment Trigger.

| AGENCY USE ONLY: Date received: ____________ | Agency Reviewer: _________________________________ |
| --- | --- |

| Initial Trigger Date: | Initial Laboratory Notification Date: | Initial BSDW Consultation Date: |
| --- | --- | --- |
| Total# routine and repeat samples: | Total# coliform positive samples: | Total# E-coli positive samples: |
| # of coliform detections in past 12 months: | # of Technique Triggers in past 12 months: L1___/L2___ |